## Slide 1
Measuring Slow Ca2+ Dynamics in MIN6 Monolayers and Pseudoislets
Clayton Seitz, Scherer Lab

## Slide 2
Intracellular Ca2+ is involved in Insulin Granule Exocytosis
Insulin Granule Biogenesis, Trafficking, and Exocytosis. Vitam Horm 2009
ATP-sensitive K+ channels open and depolarize the cell
Elevated [Ca2+] triggers insulin granule exocytosis
Gap junctions allow cell-cell communication

## Slide 3
[Ca2+] oscillations can be induced by incubation with glucose
[Ca2+] can be read out using a fluorescent calcium indicator
[Ca2+] oscillations are less synchronized in monolayers than pseudoislets
Dimensionality and size scaling of coordinated Ca2+ dynamics in MIN6 beta-cell clusters. Biophysical Journal. 2014
3D
2D
Synchronization of [Ca2+] oscillations is dependent on growth geometry
50um
[Ca2+]
Monolayer
Pseudoislet
[Ca2+]
Monolayer
Pseudoislet
Notes: 3

## Slide 4
Photobleaching Imposes Constraints on Observable [Ca2+] Dynamics
[Ca2+] calcium indicators have a finite photon budget before photobleaching
Widefield LED excitation promotes photobleaching
Photobleaching can be mitigated with timing/intensity control
60X Water
LED
Detector
CMOS TTL
UNO TTL
PD
READOUT
TTL - Transistor-Transistor Logic
PD - Photodiode
CMOS – Complementary metal oxide semiconductor

## Slide 5
Transistor-Transistor Logic (TTL) Allows Precisely-Timed Pulsatile Excitation
Brief excitatory pulses during sensor exposure limits photobleaching at low frame rates

## Slide 6
Monolayer
Pseudoislet
MIN6 Monolayer/Pseudoislet at 28mM Glucose

## Slide 7
Monolayer
Pseudoislet
Notes: `